## 15-309 IPs
Flowlink (2 extra licenses), version 5.10.616, product 602544200
Dave's ThinkPad T520
Joe's computer
For 15-309 | Static IP # | Deployment 1 | Deployment 2 | Size (in) | Waterflux 3000 SN | GKL
JBT01 | 166.159.121.230 | FRA2 |  | 6 | A17080796 | 1.8229
JBT02 | 166.159.121.183 | FRA1 |  | 4 | A17080794 | 1.3481
JBT04 | 166.159.121.151 | FER2 |  | 4 | A16017315 | 1.4051
JBT05 | 166.159.101.47 | Three Mile Creek, Dalles, OR |  | 8 | A16033751 | 1.9112
JBT06 | 166.159.121.159 | PAW1 |  | 12 | NA | NA
JBT07 | 166.159.121.231 | WAS2 (outlet) | FRT2-IN | 4 | A16017312 | 1.4064
JBT11 | 166.239.181.71 | FRT1 (old BFOCV) |  | 8 | A16033752 | 1.9626 | *Box is missing components (dual port cable and 2105 power cable?)
JBT13 | 166.159.121.152 | SHO1 |  | 6 | A16017311 | 1.8055
JBT14 | 166.159.121.154 | SHO2 |  | 8 | A16034254 | 1.8827
JBT16 | 166.239.181.37 | FRT2 (old BFOCV) | FRT2-FilterB/ CIG2 | 4 | A16017314 | 1.4262
JBT18 | 166.159.121.232 | WAS1 (inlet) | FRT2-FilterA | 6 | A17080797 | 1.8022 | *assumed SN and GKL; flowmeter mistakenly left at JBT05
JBT19 | 166.159.121.160 | PAW2 |  | 6 | A16017310 | 1.8449
FER1 modem (166.159.121.149) died. Was intended to be used at JBT05
Server IP=67.217.115.146
Texas instruments USB driver TUSB3410 must be installed to direct connect to the stack. Driver is installed using Com port 1. So that it appears in port dropdown list in the flowlink quick connect window, check the properties of the port by right clicking port 10 in the device manager. Do not allow the port to sleep to save power. Correct baud rate is 38,400.
Hoboware Pro license key (installed on DCB computer): 2735-5816-2587-5882; software version BHW-PRO-CD Version 3.3.1
Hoboware 2nd license: 2635-5785-6578-1278; same version

## AGO station IPs
Flowlink (2 extra licenses), version 5.10.616, product 602544200
Dave's ThinkPad T520 |  | sn: 212F01755
Joe's computer |  | sn: 212F01753
| Current | MTN | Static IP # | Static IP # | Date Issued | 2110 | 2105ci | Sampler | Ultrasonic sensor | Cond. logger (U24-00-001) | Rain gauge (RG3) | Pendant (UA-003-64) | 720 submerged flow module | submerged flow sensor
WIL1 |  | 8026618741 | 166 159 100 125 U | 166.159.100.125 | 07/19/12 | 212G00920 | 212G01453 | 212G00536 | 212D01478 | 10171653 | 10157125 | 10157125
WIL2 |  | 8026618752 | 166 159 121 090 U | 166.159.121.90 | 07/19/12 | 212G00921 | 212G01454 | 212G00558 | 212F01115 | 10171654
SHE1 |  | 8026618753 | 166 159 121 147 U | 166.159.121.147 | 07/19/12 | 212G00914 | 212G01455 | 212G00548 | 212G00915 | 10171644 | 10157123 | 10157123
SHE2 |  | 8026618754 | 166 159 121 148 U | 166.159.121.148 | 07/19/12 | 212G00915 | 212G01456 | 212G00555 |  | 10171647
FER1 |  | 8026618755 | 166 159 121 149 U | 166.159.121.149 | 07/19/12 | 212G00916 | 212G01457 | 212G00557 | 212F01114 | 10171646 | 10157128 | 10157128
FER2 |  | 8026618756 | 166 159 121 151 U | 166.159.121.151 | 07/19/12 | 212G00917 | 212G01458 | 212G00533 | 212F00635 | 10171651
SHO1 |  | 8026618757 | 166 159 121 152 U | 166.159.121.152 | 07/19/12 | 212G00918 | 212G01459 | 212G00554 | 212F01116 | 10171643 | 10157126 | 10157126
SHO2 |  | 8026618758 | 166 159 121 154 U | 166.159.121.154 | 07/19/12 | 212G00919 | 212G01460 | 212G00545 | 212E01235 | 10171650
PAW1 |  | 8026618759 | 166 159 121 159 U | 166.159.121.159 | 07/19/12 | 212G00924 | 212G01461 | 212G00550 | 212F00836 | 10171642 | 10160260 | 10160260
PAW2 |  | 8026618762 | 166 159 121 160 U | 166.159.121.160 | 07/19/12 | 212G00925 | 212G01462 | 212G00546 | 212F01118 | 10171645
FRA1 |  | 8026618763 | 166 159 121 183 U | 166.159.121.183 | 07/19/12 | 212G00922 | 212G01463 | 212G00549 | 212F01117 | 10171648 | 10228948 | 10228949
FRA2 |  | 8026618764 | 166.159.121.230 U | 166.159.121.230 | 07/19/12 | 212G00923 | 212G01464 | 212G00547 | 212F01119 | 10171655
WAS2 (outlet) | FRT2-IN | 8026618765 | 166.159.121.231 U | 166.159.121.231 | 07/19/12 | NA | 212G01465 | 212G00535 | NA | 10171652 |  |  | 212H00031 | 212J01553
WAS1 (inlet) | FRT2-FilterA | 8026618767 | 166.159.121.232 U | 166.159.121.232 | 07/19/12 | 212J01890 | 212G01466 | 212G00559 | 212J01530 | 10171649
FRT2 (now WIL2) | FRT2-FilterB | 8024616220 |  | 166.239.181.37 |  |  | 213C02055 | 609004330
CHA1 |  | 802-377-5531 | 166.157.011.070 | 166.157.11.70
CHA2 |  | 802-377-5564 | 166.157.011.071 | 166.157.11.71
FRT1 |  | 8024616504 |  | 166.239.181.71 |  |  | 213C02056
Mill Creek |  |  |  | 166.159.101.45
Three Mile Creek |  |  |  | 166.159.101.47
[8 empty] | 212G00535 | bad pump
Verizon acct# |  | 787212854-00001 | Julie Santulli |  |  |  |  | 212G00559 | busted head
Server IP=67.217.115.146 |  | Server port=1701 | [5 empty] | 10157127 | Bad bucket?
Texas instruments USB driver TUSB3410 must be installed to direct connect to the stack. Driver is installed using Com port 1. So that it appears in port dropdown list in the flowlink quick connect window, check the properties of the port by right clicking port 10 in the device manager. Do not allow the port to sleep to save power. Correct baud rate is 38,400.
Hoboware Pro license key (installed on DCB computer): 2735-5816-2587-5882; software version BHW-PRO-CD Version 3.3.1
Hoboware 2nd license: 2635-5785-6578-1278; same version
PAW1
linear temp coefficient=2.00%/degree C
PAW1
|  | Date | Time | Temp | Specific cond | Conductivity
Field meter |  |  |  | 20 | 467 | 420.3
U24 |  |  |  |  | XXXXXXXXX
Field meter |  |  |  | 20 | 467 | 420.3
U24 |  |  |  |  | XXXXXXXXX
Field meter |  |  |  | 20 | 467 | 420.3
U24 |  |  |  |  | XXXXXXXXX
Field meter |  |  |  | 20 | 467 | 420.3
U24 |  |  |  |  | XXXXXXXXX
Field meter |  |  |  | 20 | 467 | 420.3
U24 |  |  |  |  | XXXXXXXXX
Me |  | 8022728819
Julie |  | 8022795323
Allison |  | 9192605934
Dan R |  | 8029894629
Joe |  | 8029999338
Paul |  | 8026883369
Mike Winslow |  | 8025789999