## Slide 1: Assessment of Tile Drainage System Impacts to Lake Champlain and Phosphorus Loads in Tile Drainage in the Jewett Brook Watershed of St. Albans Bay
Date: May 3, 2017
Presented by: Dave Braun
Conference/Venue: Lake Champlain Basin Program TAC Meeting

## Slide 2: What does the work plan say?
Task 1: Literature Review Examining Tile Drainage Systems
  Secondary data QAPP preparation
  Literature review
  Synthesis and reporting
Task 2: Monitoring and Assessment of Tile Drainage Systems
  Primary data QAPP preparation
  Characterization of tile drainage systems (Characterization report)
  Study implementation (Installation report/Monitoring summaries)
  Data management and analysis (Monitoring and Assessment report)
Task 3: P Load Estimation of Tile Drainage Systems in the Jewett Brook Watershed
  Evaluation of tributary P load (Technical memo)
  Assessment of tile drain P load significance (Final Report)

## Slide 3: Literature Review
Written by Don Meals and Julie Moore
252 references were obtained and reviewed
Reviewed by TAC and revised accordingly
Used as a basis for VTANR’s required tile drain report to the Vermont legislature, January 2017
“This literature review synthesizes the current state of knowledge concerning the effects of subsurface drainage on hydrology, reported P concentrations and loads in subsurface drainage water, and major factors influencing the loss of P through subsurface drainage, derived from published scientific research. The review also briefly identifies techniques of drainage management and treatment to reduce P losses.”

## Slide 4: Study Field and Tile Drainage System Characterization
Characterization Report (March 1, 2017) describes:
  Construction of tile drainage systems
  Surface inlets to tile drains
  Crop production in study fields
  Field soil types
  Soil Test P in study fields
  Manure and fertilizer applications
 | Site | Area (A) | Crop | Soil Survey Data % of field, type, slope class, hydrologic group | Soil Test P | Fertilizer Application | Manure Application | Cover Crop
Farmer1 | JBT01 | 25 | 2016: Silage corn 2017: Soybean | 82%: Kingsbury clay, 0 to 3%, D 10%: Massena stony loam, 0 to 3%, C/D 8%: Kingsbury clay, 3 to 8%, D | 7.2 | 2016: starter at plant 2017: starter at plant | 2016: None 2017: None | 2016: None 2017: Unknown
Farmer1 | JBT02 | 4.7 | 2016: Silage corn 2017: Soybean | 69%: Kingsbury clay, 3 to 8%, D 31%: Kingsbury clay, 0 to 3%, D | 9.3 | 2016: starter at plant 2017: starter at plant | 2016: None 2017: None | 2016: None 2017: Unknown
Farmer1 | JBT04 | 5.7 | 2016: Silage corn 2017: Soybean | 100%: Kingsbury clay, 0 to 3%, D | 4.5 | 2016: starter at plant 2017: starter at plant | 2016: None 2017: None | 2016: None 2017: Unknown

## Slide 5: Tile Drainage System Construction
All 12 systems selected are standard, perforated, corrugated drain pipe.
Most were installed within the last decade.
The outfalls range in diameter from 4–12 inches.
9 of the 12 tile drains discharge to ditches. The 3 remaining (JBT01, JBT02, and JBT04) discharge directly to Jewett Brook.
The tile drains range from 3–5 feet below ground, with most in the 3–4 feet range.
All study fields have patterned drainage except JBT16, which has a dendritic (branching) system.
Drain spacing is in the typical range of 25–40 feet, with the exception of JBT18 and JBT19, which have 80-foot spacing.

## Slide 6: Identifiable Tiled Agricultural Fields from AAFM’s 2015 Cropland Inventory

## Slide 7: Monitoring Manhole Construction

## Slide 8: Monitoring Manhole Construction

## Slide 9: Monitoring Manhole Construction

## Slide 10: Waterflux 3000 Flowmeter at Station JBT11

## Slide 11: JBT11 Monitoring Station

## Slide 12: Typical Instrument Shelter (JBT11)

## Slide 13: Station JBT01

## Slide 14: Weir Box Constructed at Station JBT06

## Slide 15: 90-degree V Weir and Level Sensor at JBT06

## Slide 16: Flow Proportional Sampling at JBT06

## Slide 17: Comparing Flow at JBT06 with CHA1 and CHA2

## Slide 18: Monitoring Start Dates
Station | Start flow monitoring | Start autosampling | Current condition
JBT01 | 3/23/17 | 4/5/17 | OK
JBT02 | 3/23/17 | 4/5/17 | OK
JBT04 | 4/3/17 | 4/5/17 | OK
JBT05 | 4/20/17 | 4/20/17 | 1) Waterflux flowmeter bad; ISCO 2150 AV flowmeter temporarily substituted 2) Replacement modem requires activation
JBT06 | 4/5/17 | 4/5/17 | OK
JBT07 | 3/30/17 | 4/5/17 | OK
JBT11 | 4/5/17 | 4/5/17 | Modem problem (power)
JBT13 | 4/3/17 | 4/11/17 | OK
JBT14 | 4/5/17 | 4/5/17 | Modem problem (clock)
JBT16 | 3/30/17 | 4/5/17 | OK
JBT18 | 4/22/17 | 4/22/17 | OK
JBT19 | 4/22/17 | 4/22/17 | OK

## Slide 19: TP, TDP, and TN in Weekly Composite Samples April 11, 2017 Collection Date (first round)
Station | TP (ug/L) | TDP (ug/L) | TN (mg/L)
JBT01 | 491 | 258 | 4.8
JBT02 | 976 | 678 | 7.2
JBT04 | 798 | 120 | 4.9
JBT05 | NS | NS | NS
JBT06 | 195 | 131 | 33
JBT07 | 708 | 159 | 7.5
JBT11 | 40 | 58 | 3.3
JBT13 | NS | NS | NS
JBT14 | 248 | 66 | 7.4
JBT16 | 105 | 73 | 5.8
JBT18 | NS | NS | NS
JBT19 | NS | NS | NS

## Slide 20: Standpipe Inlet to JBT14 Tile Drain

## Slide 21: Tile Drain Muddying Already Muddy Jewett Brook

## Slide 22: Runoff and Erosion on Tiled Field (JBT14)